## Slide 1
December 2016
Thessaloniki, Hellas
CARDIOVASCILAR ENGINEERING.
COMPUTATIONAL
FLUID DYNAMICS APPROACH
Johannes V. Soulis
B.Sc (Eng Sc), M.Sc (Mech Eng), Ph.D (Mech Eng)
Fluid Mechanics Professor
Fluid Mechanics Division, Faculty of Engineering,
Demokrition University of Thrace, Greece
e-mail: soulis@civil.duth.gr
www.soulis1.wixsite.com/mysite

## Slide 2
Presenter
Johannes V. Soulis

## Slide 3
Fluid Mechanics Division,
Faculty of Engineering,
Demokrition University of Thrace,
Hellas

## Slide 4
CONTENTS
1) CARDIOVASCULAR ENGINEERING AND
COMPUTATIONAL FLUID DYNAMICS
2) PATIENT SPECIFIC ARTERY
3) NON-NEWTONIAN BLOOD
4) NORMAL LEFT CORONARY ARTERY
5) RIGHT CORONARY ARTERIES
5.1 RCA
5.2 Stented artery
5.3 Arterial wall
6) AORTA
7) FLUID STRUCTURE INTERACTION (FSI)
8) CONCLUSION

## Slide 5
CHAPTER 1
CARDIOVASCULAR ENGINEERING AND
COMPUTATIONAL FLUID DYNAMICS

## Slide 6
"Bioengineering" means the application of various disciplines of Engineering in living beings.
The Computational Fluid Dynamics approach has become very popular in recent years in Bioengineering Science with particular emphasis in Biomedical Engineering.
Computational Cardiovascular Mechanics is the science that deals with the computational analysis of the cardiovascular system and specifically with the diagnosis and treatment of cardiovascular disease.
Computational Fluid Dynamics is part of Computational Mechanics
Computational Cardiovascular Mechanics

## Slide 7: Computational Fluid Dynamics & Atherosclerosis
Cardiovascular diseases, such as atherosclerosis, are major reasons for mortability and morbidity in the western world countries.
Although genetic factors seem to be important, basic mechanisms
related to arterial wall cell malfunction, which leads to atherosclerosis
formation, depend on the blood flow properties.
Computational Fluid Dynamics sheds light into blood flow.

## Slide 8
High or low oscillatory wall shear stress
Flow recirculation
Long residence time of atherogonous materials with the endothelium
Wall shear stress gradients
Local turbulence
Pressure
Flow factors of great importance in
atherosclerosis genesis and progression

## Slide 9: The Navier-Stokes equations govern the blood flow

## Slide 10: The convection-diffusion equation

## Slide 11: The flux diffusion equation

## Slide 12: Shear stress

## Slide 13
CHAPTER 2
PATIENT SPECIFIC ARTERY

## Slide 14: Geometry, computational grid and flow equations for the patient specific arteries

## Slide 15: Applied Methodology
2D digital images produced by a
Computed Tomography (CT) process
Coarse 3D geometry
Smoothed 3D geometry
Computational Grid
Computational Results

## Slide 16: Geometry Reconstruction– Materialise Mimics Software
Aortic Arch
Additional choices
1. The CT images were imported into Mimics software
2. The orientation of images was defined
3. An initial geometry was reconstructed using proper
semiautomatic algorithms provided by the Mimics
software

## Slide 17: Smoothing process
Outflow Surface
Incorrect smoothing
Correct Smoothing

## Slide 18
Geometry Reconstruction– Materialize Mimics Software

## Slide 19: Geometry – Computational Grid
Geometry | Number of computational cells
Aortic Arch | 80000 ( almost 200000 nodes)
Computational Grid was produced using commercial software Gambit

## Slide 20: Equations-Assumptions
The usual equations of mass and momentum conservation were solved for
transient,
three dimentional (3D),
incompressible,
isothermal and
laminar flow
Navier-Stokes equations

## Slide 21: Boundary Conditions
Inlet pulse:
Period T=800 msec
 | Qo[%]
Inlet | 100%
Right common carotid artery | 3.71%
Right subclavian artery | 14.92%
Left common carotid artery | 3.22%
Left subclavian artery | 6.67%
Descending aorta | 71.48%
Outflows discharges:

## Slide 22: Blood Molecular Viscosity and WSS
Blood is examined as a non-Newtonian fluid obeying to the power law
(Soulis et al. 2008) and its density is set 1058 kg/m3.
According to non-Newtonian power law, blood apparent viscosity can be calculated as:
where S is the shear rate, T(K) and To(K) are the local and reference temperatures and k and n the Power law parameters
Thus, the instantaneous Wall Shear Stress was calculated as:

## Slide 23
Wallace H. Coulter Laboratory
Cardiovascular Dynamics and Biomolecular Transport Laboratory
Zhong-Dong Shi, Rishi Mathura, and Henry Qazi

## Slide 24: AWSS, AWSSV, OSI
The time-averaged WSS magnitude (AWSS) is defined as:
where is the instantaneous WSS (Pa) magnitude and T (sec) is the pulse period.
Another transient flow property, related with the wall, is the magnitude
of time-averaged WSS vector (AWSSV) defined as
Oscillatory Shear Index (OSI) monitors the differences between AWSS and AWSSV values.
-1
-1

## Slide 25: Results for the patient specific arteries

## Slide 26: Results –AWSS & OSI
High OSI
Low AWSS

## Slide 27
CHAPTER 3
NON-NEWTONIAN BLOOD FLOW

## Slide 28: Many non-Newtonian models exist, but none of them is still universally accepted. In the current research work, seven non-Newtonian models plus the Newtonian one are compared in a real human LCA tree. These models are: 1) Newtonian, 2) Carreau (Cho et al., 1991), 3) Modified Cross Law (Carreau-Yasuda model), 4) Power Law (Cho et al., 1991), 5) Non-Newtonian Power Law (Sharma et al., 1992), 6) Generalized Power Law (Ballyk et al., 1994), 7) Casson (Fung, 1993), 8) Walburn-Schneck Law (Walburn et al. 1976).

## Slide 29
Contour plots of the Molecular Viscosity (kg/m-s) magnitude distribution
using non-Newtonian Power Law model

## Slide 30
Contour plots of the Molecular Viscosity (kg/m-s) magnitude distribution using Modified Cross Law model

## Slide 31
Contour plots of the Molecular Viscosity (kg/m-s) magnitude distribution using Walburn-Schneck Law model

## Slide 32
Contour plots of the Wall Shear Stress (WSS, N/m2) magnitude distribution using Newtonian Law model. Contour labels range from 1 to 15 and correspond to 15 colour levels shown in the bar

## Slide 33
Contour plots of the Wall Shear Stress (WSS, N/m2) magnitude distribution using Carreau Law model

## Slide 34
Contour plots of the Wall Shear Stress (WSS, N/m2) magnitude
distribution using Modified Cross Law model

## Slide 35
Contour plots of the Wall Shear Stress (WSS, N/m2) magnitude distribution using Power Law model

## Slide 36
Contour plots of the Wall Shear Stress (WSS, N/m2) magnitude
distribution using non-Newtonian Power Law model

## Slide 37
Contour plots of the Wall Shear Stress (WSS, N/m2)
magnitude distribution using Generalized Power Law model

## Slide 38
Contour plots of the Wall Shear Stress (WSS, N/m2) magnitude distribution using Casson Law model

## Slide 39
Contour plots of the Wall Shear Stress (WSS, N/m2) magnitude
distribution using Walburn-Schneck Law model

## Slide 40
CHAPTER 4
NORMAL LEFTCORONARY ARTERY

## Slide 41: Geometry, computational grid and flow equations for the Left Coronary Artery

## Slide 42: LCA Geometry

## Slide 43: Computational grid

## Slide 44: WSS and WSSG
The instantaneous Wall Shear Stress was calculated as:
The instantaneous Wall Shear Stress Gradient was calculated as:

## Slide 45: ΔWSS and ΔWSSG
The instantaneous ΔWSS was calculated as:
The instantaneous ΔWSSG was calculated as:
r: stands for either FD or LW. b: stands for entire bifurcation.

## Slide 46: Definition of Flow Divider (FD) and Lateral Walls (LW)
Flow divider (FD)
Lateral Walls (LW)
Main bifurcation
D1-S1 bifurcation
D2-S2 bifurcation

## Slide 47: Areas covered by Flow divider (FD) and Lateral Walls (LW)
Flow divider (FD), covers an area of 3.15x10-5 m2
Lateral Walls (LW),
cover an area of 7.0x10-4 m2

## Slide 48: Pulsewave
Systole
Diastole
Systole
Diastole

## Slide 49: Results for the Left Coronary Artery

## Slide 50: Wall Shear Stress (N/m2) Time point A (15.0 msec)

## Slide 51: Wall Shear Stress (N/m2) Time point B (150.0 msec)

## Slide 52: Wall Shear Stress (N/m2) Time point C (285.0 msec)

## Slide 53: Wall Shear Stress (N/m2) Time point D (385.0 msec)

## Slide 54: Wall Shear Stress (N/m2) Time point E (642.5 msec)

## Slide 55: Minimum Wall Shear Stress (N/m2)
Main bifurcation,
FD: dashes,
LW: continuous lines
0
0,5
1
1,5
2
2,5
3
0
100
200
300
400
500
600
700
800
900
1000
Time (msec)
min WSS (N/m2)

## Slide 56: Mean Wall Shear Stress (N/m2)
Main bifurcation,
FD: dashes,
LW: continuous lines
0
0,5
1
1,5
2
2,5
3
3,5
4
4,5
5
0
100
200
300
400
500
600
700
800
900
1000
Time (msec)
mean WSS (N/m2)

## Slide 57: Maximum Wall Shear Stress (N/m2)
Main bifurcation,
FD: dashes,
LW: continuous lines
0
0,5
1
1,5
2
2,5
3
3,5
4
4,5
5
5,5
6
6,5
7
7,5
0
100
200
300
400
500
600
700
800
900
1000
Time (msec)

## Slide 58: Minimum Wall Shear Stress (N/m2)
D1-S1 bifurcation,
FD: dashes,
LW: continuous lines
0
0,5
1
1,5
2
2,5
3
3,5
4
0
100
200
300
400
500
600
700
800
900
1000
Time (msec)

## Slide 59: Mean Wall Shear Stress (N/m2)
D1-S1 bifurcation,
FD: dashes,
LW: continuous lines
0
1
2
3
4
5
6
7
0
100
200
300
400
500
600
700
800
900
1000
Time (msec)

## Slide 60: Maximum Wall Shear Stress (N/m2)
D1-S1 bifurcation,
FD: dashes,
LW: continuous lines
0
1
2
3
4
5
6
7
8
9
0
100
200
300
400
500
600
700
800
900
1000
Time (msec)
max WSS (N/m2)

## Slide 61: Wall Shear Stress Gradient (N/m3) Time point A (15.0 msec)

## Slide 62: Wall Shear Stress Gradient (N/m3) Time point B (150.0 msec)

## Slide 63: Wall Shear Stress Gradient (N/m3) Time point C (285.0 msec)

## Slide 64: Wall Shear Stress Gradient (N/m3) Time point D (385.0 msec)

## Slide 65: Wall Shear Stress Gradient (N/m3) Time point E (642.5 msec)

## Slide 66: Minimum Wall Shear Stress Gradient (N/m3)
Main bifurcation,
FD: dashes,
LW: continuous lines
0
25
50
75
100
125
150
175
200
225
250
0
100
200
300
400
500
600
700
800
900
1000
Time (msec)
min WSSG (N/m3)

## Slide 67: Mean Wall Shear Stress Gradient (N/m3)
Main bifurcation,
FD: dashes,
LW: continuous lines
0
100
200
300
400
500
600
700
800
900
1000
1100
1200
0
100
200
300
400
500
600
700
800
900
1000
Time (msec)
mean WSSG (N/m3)

## Slide 68: Maximum Wall Shear Stress Gradient (N/m3)
Main bifurcation,
FD: dashes,
LW: continuous lines
0
500
1000
1500
2000
2500
3000
3500
4000
4500
0
100
200
300
400
500
600
700
800
900
1000
Time (msec)
max WSSG (N/m3)

## Slide 69
ΔWSS (N/m2) at the flow divider
Main bifurcation
FD: continuous lines,
LW: dashes
max WSSG (N/m3)

## Slide 70
ΔWSSG (N/m3) at the flow divider
Main bifurcation
FD: continuous lines,
LW: dashes
max WSSG (N/m3)

## Slide 71
CHAPTER 5
RIGHT CORONARY ARTERIES
(RCA, STENTED ARTERY, ARTERIAL WALL)

## Slide 72
5.1 Right Coronary Arteries (RCA)

## Slide 73: Geometry and computational grid for the Right Coronary Arteries

## Slide 74: Computational grid RCA Vessels No 1 and No 2

## Slide 75: Computational grid RCA Vessels No 3 and No 4

## Slide 76: Results for the Right Coronary Arteries

## Slide 77
AWSS (N/m2) No1 RCA
High OSI
Low AWSS

## Slide 78
AWSSV (N/m2) No1 RCA
High OSI
Low AWSS

## Slide 79
OSI No1 RCA
High OSI
Low AWSS

## Slide 80
OSI vs WSS (N/m2)
High OSI
Low AWSS

## Slide 81: OSI vs AWSSV (N/m2)

## Slide 82: AWSSV(N/m2) vs AWSS(N/m2)

## Slide 83: Wall Shear Stress (N/m2) RCA Vessels No 1 and No 2

## Slide 84: Wall Shear Stress (N/m2) RCA Vessels No 3 and No 4

## Slide 85: Infiltration velocity (m/s) RCA Vessels No 1 and No 2

## Slide 86: Normalized luminal surface LDL concentration Cw/Co contours of the RCAs. Infiltration velocity and endothelial permeability coefficient are shear dependent

## Slide 87: Area Averaged LDL concentration over RCAs using various Vw and K
 | Vessel 1 Cw/Co | Vessel 2 Cw/Co | Vessel 3 Cw/Co
Vw=0.6x10-8 m/s K=2.0x10-10 m/s | 1.030 | 1.041 | 1.046
Shear dependent Vw and K | 1.075 | 1.117 | 1.125
 | Vessel 4 Cw/Co | Vessel 5 Cw/Co | Vessel 6 Cw/Co
Vw=0.6x10-8 m/s K=2.0x10-10 m/s | 1.036 | 1.033 | 1.029
Shear dependent Vw and K | 1.097 | 1.089 | 1.075

## Slide 88: RCA Vessel No 1 WSS (N/m2) magnitude. Vw and K are shear dependent

## Slide 89
RCA Vessel No 1
Water infiltration velocity Vw (m/s). K is shear dependent

## Slide 90
RCA Vessel No 1
Endothelial permeability K (m/s). Vw is shear dependent

## Slide 91
5.2 Stented artery

## Slide 92: Stent insertion

## Slide 93: Stent is inserted into the arterial vessel where the atheromatic plaque is located
Medical Guideline Systems

## Slide 94: Few seconds later, the stent is deployed
Medical Guideline Systems

## Slide 95: Stent final position
Medical Guideline Systems

## Slide 96
Geometry and computational grid for the stented artery

## Slide 97: Stent geometry of the fully deployed artery. Front and rear view projected into a single plane.

## Slide 98: Stent struts are 50.0 % embedded into the arterial wall

## Slide 99: The computational grid is comprised from four quadrants. One quadrant is tested for CPU time economy

## Slide 100
Results for the stented coronary artery

## Slide 101: Velocity (m/s) streamlines near to endothelium of the stented artery

## Slide 102: Velocity (m/s) streamlines near to endothelium of the stented artery

## Slide 103: Velocity (m/s) streamlines near to endothelium at the very end region of the stented artery

## Slide 104: Velocity (m/s) streamlines near to endothelium at the mid portion region of the stented artery

## Slide 105: WSS (N/m2) contours of the artery (stent and endothelium)

## Slide 106: WSS (N/m2) contours of the artery (stent and endothelium). Enlarged view

## Slide 107: WSS (N/m2) contours on struts of the artery. Front and rear view projected in a single plane

## Slide 108: WSS (N/m2) vectors of the artery (stent and endothelium)

## Slide 109: WSS (N/m2) vectors of the artery (stent)

## Slide 110
Luminal surface LDL concentration Cw

## Slide 111
Luminal surface LDL concentration Cw

## Slide 112: 5.3 Arterial wall

## Slide 113
Geometry and computational grid for the arterial wall

## Slide 114: Various CT slice scans were used for the reconstruction of the three-dimensional segments. The layered masks were segmented in Mimics software with different colours for each CT image slice. The arterial wall is shown in red with lumen in blue colour.
Masks in color for a typical CT slice

## Slide 115
Reconstructed human thoracic aorta 3D

## Slide 116
Endothelium
Reconstruction of arterial wall
Arterial wall
Shaded geometry
Due to unsmoothed surfaces, the geometry had to be improved by rebuilding the surfaces that constitute the boundary surfaces. This action was necessary for the subsequent computational analysis and it was achieved through Rhinoceros 4.0 software.

## Slide 117
Following the completion of the 3D reconstruction geometry, the computational mesh generation is the natural following step. Towards this end, the constructed geometry is imported into Gambit software. The number of mesh nodes used was 1.825.113.
Creation of mesh
Shaded geometry.
Lumen and arterial wall

## Slide 118
Flow field and boundary conditions

## Slide 119
Interfacial coupling through Jv και Js (Olgac U. et al, 2008)

## Slide 120
Applied pulsewave into the lumen entrance

## Slide 121
Results for the arterial wall

## Slide 122
Wall Shear Stress (Pa) at the luminal side after 61.0 msecs

## Slide 123
Normalized LDL concentration at the luminal side after 61.0 msecs

## Slide 124
Normalized LDL concentration within the arterial wall
(close to endothelium) after 61.0 msecs (one view)

## Slide 125
Normalized LDL concentration within the arterial wall
(close to endothelium) after 61.0 msecs (second view)

## Slide 126
Normalized LDL concentration at an arbitrary
wall cross-section after 61.0 msecs

## Slide 127
WSS (Pa) at luminal side after 400.0 msecs

## Slide 128
Normalized LDL concentration at the luminal side after 400.0 msecs

## Slide 129
Time-averaged normalized LDL at the lumen side

## Slide 130
Time-averaged normalized LDL concentration
within the arterial wall (close to endothelium)

## Slide 131
Time-averaged LDL concentration at an arbitrary cross-section

## Slide 132
CHAPTER 6
AORTA

## Slide 133
Computational grid of normal Aorta

## Slide 134
WSS (N/m2) in Aorta

## Slide 135
WSS (N/m2) in Aorta

## Slide 136
LDL in Aorta

## Slide 137
LDL in Aorta

## Slide 138
CHAPTER 7
FLUID STRUCTURE INTERACTION

## Slide 139: Computer tomography

## Slide 140: Contouring of vessel section

## Slide 141: Contour sections

## Slide 142: AAA Model. 3D Reconstruction

## Slide 143: AAA Model. Computational Grid

## Slide 144: AAA model. Von Mises Stress (N/m2) under 120.0 mm Hg

## Slide 145: AAA model. Displacement (mm) (radial-like) under 120.0 mm Hg

## Slide 146: AAA model. Von Mises Stress (N/m2) under 180.0 mm Hg

## Slide 147
AAA model. Displacement (mm) (radial-like) under 180.0 mm Hg

## Slide 148
AAA model. Von Mises Stress (N/m2) under 240.0 mm Hg

## Slide 149
AAA model. Displacement (mm) (radial-like) under 240.0 mm Hg

## Slide 150
CHAPTER 8
CONCLUSION

## Slide 151
The current computational analysis results quantify
a) the WSS and its impact on LDL concentratio
b) the fluid structure interaction

## Slide 152
The velocity vector oscillates and at the same time alters its direction.
    High OSI values locate in regions with low AWSS.
    Low AWSS and high OSI values nearly collocate.
    The values of AWSS-OSI, are affected from local conditions such as geometry
    curvature, instantaneous and time-averaged WSS and global parameters such as
    velocity variation in time and others.
    Regional differences between AWSS magnitude and OSI may answer the question as to where atherosclerotic lesions predominately develop and progress at specific aortic regions.

## Slide 153
    WSS plays an important role in the wall concentration of the LDL.
    Increased permeation of LDL concentration at specific regions is observed.
    Prone to plaque development are flow regions located at specific intersections where increased LDL concentration is observed.
    The paths of the velocity in the proximity to the endothelium region might be the most important factor for elevated LDL concentration.
    Increased blood pressure increases arterial wall stress.
    Vessel geometry complexity gives rise to increased wall stress.

## Slide 154
The luminal surface LDL concentration at the arterial wall is flow-dependent with local variations due to geometric features.
The relationship between WSS and luminal surface concentration of LDL indicates that LDL is elevated at locations where WSS is low.

## Slide 155
The results also indicate that artery walls are exposed to a cholesterolemic
environment although the applied mass and flow conditions refer to normal mass-
flow conditions.
It is the permeability of the endothelium, which mainly determines the final
amount passing through the wall.
Regions where the WSS is low and the luminal surface LDL concentration is high, the flux across the endothelium is increased rendering these regions as atherogenic-prone areas. So high LDL concentration in the arterial wall occurs in regions with high luminal side LDL concentrations.
The LDL concentration within the arterial wall is smaller (nearly 18-20 times) than at the luminal side of the endothelium.
LDL concentration values decrease within the arterial wall from regions close to endothelium side towards adventitia.

## Slide 156
Thank you for your attention